Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Miami-Dade County Building Code Administration. The petition seeks the agency's opinion as to the applicability of section C402.5, Florida Building Code, Energy Conservation, 7th Edition (2020), as it applies to the petitioner.

Petitioner seeks clarification about the proposed use of openable windows to satisfy ventilation requirements in the Florida Building Code, Mechanical, 7th Edition (2020). Specifically, Petitioner presents the following question: Can natural ventilation (via openable windows) be used to provide outdoor air for an occupied space while it is mechanically cooled and still meet the sealed building thermal envelope requirements of the Energy Conservation Code, Section C402.5.

A copy of the Petition for Declaratory Statement may be obtained by contacting: The Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.