Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-1.004	General Sanitation and Safety Requirements

The Florida Department of Business and Professional Regulation, Division of Hotels and Restaurants hereby gives notice:

On May 11, 2021 the Division of Hotels and Restaurants received a Petition for an Emergency Variance for Subparagraph 61C-1.004(1)(a), Florida Administrative Code and Paragraph 5-202.11(A), 2017 FDA Food Code; Paragraph 4-301.12(A), 2017 FDA Food Code and Paragraph 61C-4.010(5),Paragraph 4-301.11(A); Florida Administrative Code and Section 5-203.13, 2017 FDA Food Code from POKE 305 GRO LLC, located in Miami. The above referenced F.A.C. addresses the requirement that each establishment have an approved plumbing system installed to transport potable water and wastewater; the requirement that dishwashing facilities for manually washing, rinsing and sanitizing equipment and utensils are provided; and that each establishment has at least one service sink provided for the cleaning of mops or similar cleaning tools and the disposal of mop water. They are requesting to utilize holding tanks to provide potable water and to collect wastewater at handwash sink; to share the warewashing facilities, cold storage and the mop sink located on the premises of a nearby business under a different ownership.

The Petition for this variance was published in Vol. 47/92 on May 12, 2021. The Order for this Petition was signed and approved on May 20, 2021. After a complete review of the variance request, the Division finds that the application of this Rule will create a financial hardship to the food service establishment. Furthermore, the Division finds that the Petitioner meets the burden of demonstrating that the underlying statute has been achieved by the Petitioner ensuring the wastewater holding tank for the handwash sink is emptied at a frequency as to not create a sanitary nuisance; and potable water provided must come from an approved source and be protected from contamination during handling. The Petitioner shall also ensure that the handwash sinks are provided with hot and cold running water under pressure, soap, an approved hand drying device and a handwashing sign. As well as, ensuring the warewashing, cold storage and mop sink located on the premises of FDG BRICKELL II LLC (SEA2336222), is maintained in a clean and sanitary manner and is provided with hot and cold running water under pressure and available to employees of POKE 305 GRO LLC (File: 335011) during the hours of operation: Monday-Saturday 8am-9pm and Sunday 8am-7pm . If the ownership of POKE 305 GRO LLC (File: 335011) and/or FDG BRICKELL II LLC (SEA2336222) changes, a signed agreement for use of the warewashing, cold storage and mop sink is required immediately.

A copy of the Order or additional information may be obtained by contacting: Kasimira.Kelly@myfloridalicense.com, Division of Hotels and Restaurants, 2601 Blair Stone Road, Tallahassee, Florida 32399-1011.