Miscellaneous

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

Notice of Florida Building Code Binding Interpretation

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN THAT the Binding Interpretation Panel has issued a binding interpretation pursuant to Section 553.775, Florida Statutes, submitted by the American Council of Engineering Consultants of Florida, and accepted by BOAF on May 19, 2021. The following is a summary of the interpretation:

Appeal question requesting a response: Does section 110.8 of the Florida Building Code prohibit the fee owner of a threshold building from selecting a qualified private entity to perform both private provider services and required threshold inspections on the same threshold building?

Answer: No. As per Section 110.8.6, the building official has the authority to allow a qualified private entity to perform both private provider services and required threshold inspections on the same threshold building.

A copy of the Panel's decision may be obtained from https://floridabuilding.org/bi/bi_bind_interp_srch.aspx, or by contacting the Codes and Standards section at (850)487-1824.