Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On July 1, 2021, the Division issued an order. The Final Order was in response to a Petition for a permanent Variance from Canopy by Hilton at 380 Trinity Place, West Palm Beach, FL, filed June 3, 2021, and advertised on June 16, 2021 in Vol. 47, No. 116, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 110.26, NFPA 70, 2017 National Electric Code, as adopted by Rule 61C-5.001 Florida Administrative Code that requires minimum distances for providing and maintaining access and working space about all electrical equipment because the Petitioner has not demonstrated that the purpose of the underlying statute has been met and that the Petitioner would suffer a substantial hardship if required to comply with this rule (VW2021-086).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.