- 69A-51.010 State Boiler.

(1) The Department of Financial Services hereby adopts and incorporates by reference the following national codes as the State Boiler Code for the safe construction, installation, inspection, maintenance, and repair of boilers.

(a) The ASME Boiler and Pressure Vessel Code, Sections I; II, Parts A, B, C and D; IV; V; VI; VII; VIII, Division 1, Appendix 19; and IX; 2017 edition; and the ASME CSD-1, Controls and Safety Devices for Automatically Fired Boilers, 2018 edition.

(b) The National Board Inspection Code (NBIC), Parts 1, 2, 3, and 4, and NB-263, RCI-1, Rules for Commissioned Inspectors, 2017 edition.

(c) ASME B31.1, Power Piping, 2018 edition.

(2) The ASME standards referenced in subsection (1) are copyrighted materials and cannot be copied but may be obtained by contacting: The American Society of Mechanical Engineers, 150 Clove Road, Little Falls, New Jersey 07424 or WWW.ASME.Org; Phone: 1(800)THE-ASME.

(3) The NBIC standards referenced in subsection (1) are are copyrighted materials and cannot be copied but may be obtained by contacting: The National Board of Boiler and Pressure Vessel Inspectors, 1055 Crupper Avenue, Columbus, Ohio 43229 or https://www.nationalboard.org/; Phone: (614)888-8320.

(4) The copyrighted ASME and NBIC standards referenced in subsection (1) may be viewed, during regular business hours, at the offices of:

1. The Boiler Safety Program, Bureau of Fire Prevention, Division of State Fire Marshal, 325 John Knox Road, Third Floor, Atrium Building, Tallahassee, Florida 32303, Phone: (850)413-3614/3723; or

2. The Florida Administrative Code and Register, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250, Phone (850)245-6270.

Rulemaking Authority 554.103, 554.108 FS. Law Implemented 554.103, 554.108 FS. History–New 2-27-89, Amended 10-23-00, Formerly 4A-51.010, Amended 8-10-21.