Miscellaneous

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

Notice of Florida Building Code Binding Interpretation

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN THAT the Binding Interpretation Panel has issued a binding interpretation pursuant to Section 553.775, Florida Statutes, submitted by R&M Construction, LLC, and accepted by BOAF on July 20, 2021. The following is a summary of the interpretation:

Appeal question requesting a response:

The local building official has placed a “Stop work” order on a residential construction project due to failure to comply with building code requirements for application of a stucco finish on a new residence under construction. The solution offered by the contractor was rejected due to failure to provide additional construction documents which will provide corrections to work by a registered design profession under the authority granted to the building official under Section [A]107.1 of the Florida Building Code, Building Volume. The petitioner requests that the building official’s determination to “Stop Work” should be removed, and seeks an interpretation from the Panel which will allow the work on the dwelling to proceed.

Answer: The Panel concluded that the building official has the authority to require the petitioner to provide corrections to work by a registered design profession under the authority granted to the building official as provided in the Florida Building Code before proceeding with work.