- 62-625.110 Applicability/References.

(1) This chapter applies:

(a) To the discharge of pollutants from nondomestic sources covered by pretreatment standards which are discharged into, transported by truck or rail, or otherwise introduced into WWFs as defined in subsection 62-625.200(29), F.A.C.;

(b) To public utilities which receive wastewater from sources subject to pretreatment standards and that discharge to surface waters of the State, or public utilities required to implement a pretreatment program in accordance with Chapter 62-610, F.A.C. or 40 C.F.R. Parts 146.15 and 146.16, as of July 1, 2009, hereby adopted and incorporated by reference; and,

(c) To any new or existing source subject to pretreatment standards, including public utilities required to implement a pretreatment program in accordance with state requirements in Chapter 62-610, F.A.C.

(2) This chapter does not apply to industrial wastewater facilities that accept wastewater from another facility for co-treatment, reuse or disposal, unless such facility discharges to a public utility.

(3) References. The Department adopts and incorporates by reference Title 40 of the Code of Federal Regulations (CFR) Part 441, effective July 14, 2017, (http://www.flrules.org/Gateway/reference.asp?No=Ref-09403), which contains pretreatment standards and reporting and recordkeeping requirements for dental dischargers.

Rulemaking Authority 403.061(7), (31), 403.0885 FS. Law Implemented 403.0885 FS. History–New 11-29-94, Amended 5-10-10, 5-23-18, 9-20-21.