Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Classic Florida Dream Homes, LLC. The petition seeks the agency's opinion as to the applicability of Section 107.6.1, Florida Building Code, Building, 7th Edition (202), as it applies to the petitioner.

Petitioner seeks clarification about the interplay of issuing building permits on the basis of affidavit and the use of private providers to inspect buildings in flood prone areas. Specifically, Petitioner presents the following question: "Per the 2020 Florida Building Code, does Section 107.6.1 Building Permits issued on the basis of an affidavit apply to Private Providers per 553.791?"

A copy of the Petition for Declaratory Statement may be obtained by contacting: The Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.