Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-762.601	Release Detection Requirements for Shop Fabricated Storage Tanks

The Department of Environmental Protection hereby gives notice: That it has issued an order on October 4, 2021, granting a Petition for a Variance for the Department of Veterans Affairs – James A. Haley Veterans’ Hospital. The Petition was received on July 27, 2021. Notice of receipt of this Petition was published in the Florida Administrative Register on July 30, 2021. The petition requested a variance from subparagraph 62-762.601(4)(b)3., F.A.C., which states that small diameter integral piping with secondary containment shall be equipped with a release detection system that can detect a leak within one hour using an electronic interstitial monitoring device that is capable of detecting a release of 10 gallons within one hour and shutting off the pump. No public comment was received. The Order, file number 21-0720, granted the variance based on a showing that Petitioner demonstrated that a strict application of the rule would result in substantial hardship to Petitioner or would affect Petitioner differently than other similarly situated applicants and because Petitioner demonstrated that the purpose of the underlying statute will be or has been achieved by other means.

A copy of the Order or additional information may be obtained by contacting: Amanda Dorsett, Department of Environmental Protection, 2600 Blair Stone Road, Mail Station 4550, Tallahassee, Florida 32399-2400, telephone (850)245-8931, Amanda.Dorsett@dep.state.fl.us during normal business hours, 8:00 a.m. – 5:00 p.m., Monday through Friday, except legal holidays.