64C-7.003 Criteria for Approved Laboratories.

(1) An approved laboratory must meet the following requirements in order to perform metabolic, hereditary, and congenital screening tests as a unit on dried blood samples from newborns:

(a) Complies with Chapter 483, F.S., the Clinical Laboratory Law, or, in the case of an out of state laboratory, complies with 42 U.S.C. 263a, s. 353.

(b) Performs each one of the above screening tests on a minimum of 50,000 newborns annually.

(c) Uses laboratory procedures which are applicable to dried blood specimens submitted to the laboratory on a standardized filter paper kit provided by the department or by an approved laboratory.

(d) Reports findings in a timely manner and maintains records in accordance with the requirements of the DOH Infant Screening Program.

(e) Provides quarterly reports of its screening activities to the department.

(2) An approved laboratory shall use a screening test for the designated disorder which meets all these criteria:

(a) The screening test employed for the designated disorder is performed in accordance with Chapter 483, F.S.

(b) The screening test result of an initial specimen from an affected infant shall detect the presumptive presence of the designated disorder before the appearance of usual clinical signs or symptoms of the disorder.

(c) The requirements of the screening test for the designated disorder shall be in accordance with subsections 64C-7.002(2)-(5), F.A.C.

Specific Authority 383.14(2) FS. Law Implemented 383.14 FS. History–New 10-25-79, Formerly 10D-76.04, Amended 12-5-84, Formerly 10J-8.04, Amended 3-29-92, 3-28-96, Formerly 10J-8.004.