64E-2.005 Air Ambulances.

(1) Each applicant for an air ambulance license shall pay the required fee as specified in Section 401.34(1)(j), F.S., and submit an application to the department on DH Form 1575, May 98, Air Ambulance Service License Application which is incorporated by reference and available from the department. The air ambulance license shall automatically expire 2 years from the date of issuance.

(2) Each air ambulance applicant or provider, pursuant to subsection 64E-2.013(1), F.A.C., shall maintain on site and make available to the department at license application, license application renewal, change of insurance carrier or policy renewal, and documentation of the following minimum insurance coverage:

(a) Each aircraft shall be insured for the sum of at least $100,000 for injuries to or death of any one person arising out of any one accident and the sum of at least $300,000 for injuries to or death of more than one person in any one accident. Any such policy on a leased aircraft must identify both the owner and the lessee of the aircraft.

(b) In lieu of the insurance required in paragraph (2)(a), the provider or applicant may furnish a certificate of self-insurance establishing that the provider or applicant has a self-insurance plan to provide coverage identical to what is required in paragraph (2)(a) and that the plan has been approved by the Department of Insurance.

(3) Each licensed air ambulance shall have emergency protocols which address at least, emergency procedures when the aircraft is overdue, when radio communications cannot be established, or when aircraft location cannot be verified. Each licensed rotary wing air ambulance shall document at least every 15 minutes of flight while en route to and from the patient’s location.

(4) Each provider shall maintain in each paramedic’s employment file documentation of successful completion of an initial air crew member (ACM) education program that was conducted in accordance with the 1988 United States (U.S.) Department of Transportation (DOT) Air Medical Crew-Advanced National Standard Curriculum (NSC), which is incorporated by reference and is available for purchase from AAMS; 110 North Royal Street, Suite 307, Alexandria, VA 22314; (703)836-8732. Each provider shall ensure and shall document in its employee records that each EMT and paramedic which it employs holds a current certification from the department.

(5) Each air ambulance provider shall establish a safety committee. The committee shall:

(a) Consist of a membership to include: one pilot, one flight medical crew member, the provider’s medical director, one hospital administrator if the provider is a hospital based program, and a representative of a quality assurance division if one exists;

(b) Develop safety procedures for the provider;

(c) Meet at least quarterly to review safety policies, procedures, unusual occurrences, safety issues, and audit compliance with safety policies and procedures:

(d) Communicate the results of the safety audit to all program personnel; and

(e) Record minutes of the meeting and retain them on file for 2 years.

(6) Each prehospital air ambulance provider shall staff the aircraft with a minimum of one person who shall be a paramedic who meets the criteria in subsection 64E-2.005(4), F.A.C.

(7) Every air ambulance maintained by an air ambulance provider shall meet the structural, equipment and supply requirements listed in Table I.

(8) Each prehospital rotary wing air ambulance shall meet the requirements listed in Table II.

TABLE I

AIR AMBULANCE

Structural, Equipment and Supply Requirements

ITEM		QTY.

Aircraft Requirements

1.	Entrance large enough to allow loading of a patient.

2.	Interior large enough for two medical crew

members.

3.	Cabin illumination of 40 foot-candles at patient

level.

4.	FAA approved stretcher system with 2 straps.

5.	Isolated aircraft cockpit to protect pilot from

in-flight interference.

6.	Each aircraft shall be equipped with FAA approved

communication equipment that operates on

frequencies licensed by the FCC. This equipment

shall function so that the flight and medical crew

can communicate with ground medical support

exclusive of the air traffic control system.

7.	No smoking sign.

Medical Equipment Requirements

1.	Oxygen sufficient for duration of flight.

2.	Oxygen administration equipment.

3.	Oropharyngeal airways, sizes 0, 1, 2, 3, 4, 5, and 6.	One each.

4.	Hand operated bag-valve mask resuscitators, adult	One each.

and pediatric accumulator, including adult, child

and infant transparent masks capable of use with

supplemental oxygen.

5.	Equipment suitable to determine blood pressure of

the adult and pediatric patient during flight.

6.	Approved sharps container per Chapter 64E-16,	One.

F.A.C.

7.	Approved biohazardous waste plastic bag or

impervious container per Chapter 64E-16, F.A.C.

8.	Portable suction unit with wide bore tubing and tips,

electric or gas powered, which meets the minimum

standards as published by the General Services

Administration (GSA) in KKK-A-1822C

specifications.

9.	Equipment suitable to determine blood pressure of

the adult and pediatric patient during the flight.

TABLE II

Prehospital Rotary Wing Air Ambulances

ITEM		QTY.

Aircraft Structural Requirements

1.	External search light with a minimum of 400,000

candle power illumination at 200 feet separate from

the aircraft landing lights, movable 90 degrees

longitudinally, 180 degrees laterally and capable of

being controlled from inside the aircraft.

Equipment

1.	Laryngoscope handle with batteries.	One.

2.	Laryngoscope blades; adult, child and infant size	One each.

3.	Pediatric I.V. arm board or splint appropriate for	One.

I.V. stabilization.

4.	Disposable endotracheal tubes; adult, child and	Six total. (2 each size

infant sizes. Those below 5.5 mm shall be uncuffed.	range).

2.5 mm-5.0 mm uncuffed;

5.5 mm-7.0 mm;

7.5 mm-11.0 mm

5.	Endotracheal tube stylets pediatric and adult.	One each.

6.	Magill forceps, pediatric and adult sizes.	One.

7.	Device for intratracheal meconium suctioning in	One.

newborns.

8.	Tourniquets.	Three.

9.	I.V. cannulae between 14 and 24 gauge.	Ten.

10.	Macro drip sets.	Three.

11.	Micro drip sets.	Three.

12.	I.V. pressure infuser.	One.

13.	Needles between 18 and 25 gauge.	Six.

14.	Itraosseous needles 15 or 16 gauge and three way	Two each.

stop cocks for use with intraosseous needles. As

allowed by medical director.

15.	1 ml. syringes.	Two.

16.	2 1/2 ml. to 6 ml. syringes.	Six.

17.	10 ml. to 20 ml. syringes.	Four.

18.	Suitable equipment and supplies to allow for

collection and temporary storage of two blood

samples.

19.	DC battery powered portable monitor defibrillator	One.

with adult and pediatric paddles (or pediatric paddle

adapter) and ECG printout and spare battery. The

unit shall be capable of delivering energy below 25

watts/sec.

20.	Monitoring electrodes for adults and pedatrics.	Two sets each.

21.	Oro/nasogastric tubes. 8 French feeding tube, and	One each.

sizes 12, 14, and 16 French nasogastric tubes.

22.	Syringe appropriate for checking placement of	One.

oro/nasogastric tube.

23.	A method for rapidly determining blood glucose as

approved by the medical director.

24.	Pediatric length based measurement device for	One.

equipment selection and drug dosage.

25.	Flexible suction catheters sizes 6, 8, 10, 12, and 14	One each.

French.

26.	Multitrauma dressings.	Two.

27.	ABD pads.	Six.

28.	Sterile gauze pads.	Twenty-five.

29.	Adhesive tape.	Assorted sizes.

30.	Bite sticks or blocks.	Two.

31.	Triangular bandages.	Eight.

32.	Patient restraints, wrist and ankle.	One set each.

33.	Soft roller bandages.	Ten.

34.	Bandage shears.	One.

35.	Disposable blanket or patient rain cover.	One.

36.	Long spine board and three straps or equivalent.	One.

37.	Short spine board and two straps or equivalent.	One.

38.	Extremity immobilization, any device that	Two each of arm, leg, hand

immobilizes the joint above and below the fracture,	and wrist, foot and ankle.

must include splints to immobilize all long bone

fractures.

39.	Sterile obstetrical kit to include, at minimum, bulb	One.

syringe, sterile scissors or scalpel, and cord clamps

or cord ties.

40.	Burn sheets.	Two.

41.	Flashlight, minimum two “D” cells.	One.

42.	Vaseline gauze.	Four.

43.	Gloves – latex or other suitable material.	Sufficient quantity for all

crew members.

44.	Face masks.	Sufficient quantity for all

crew members.

45.	Nasopharyngeal airways 12, 14, 16, 18, 20, 22, 24,	One each.

26, 28 and 30 French or mm equivalents.

46.	Safety goggles or equivalent meeting A.N.S.I.	One per crew member.

Z87.1 standard.

47.	Bulb syringe separate from obstetrical kit.	One.

48.	Thermal, absorbent, reflective blanket.	One.

49.	Standing orders.

MEDICATION	WT./VOL.	QTY.

_____________________________________________________________________________________________________

1.	Atropine Sulfate.		2 mg. Total.

2.	Dextrose 50 percent.	25 gm. per 50 ml.	2.

3.	Epinephrine HCL.	1:1,000 1 mg./ml.	2. 1mg./ml. amps or one

multi dose.

4.	Epinephrine HCL.	1:10,000 1 mg./10 ml.	4.

5.	Lidocaine HCL.	100 mg. per 5 ml.	2.

6.	Lidocaine HCL. In any of	2 gm. vials or pre-filled	4 gms. Total.

the following	syringes; 1 gm. vials or

combinations:	pre-filled syringes;

or pre-mixed solutions	2 pre-mix.

of 4 mg. per ml. in a 500

ml. bag.

7.	Sodium Bicarbonate.	50 mEq. or 44.6. mEg.	2 amps.

8.	Naloxone (Narcan).	1 mg./m1. 2 mg. amp.	2 amps.

9.	Nitroglycerin tabs.	0.4 mg./tablet or 0.4 mg.	1 bottle pump sprayer.

spray pump.

10.	Diazepam or Lorazepam.	5 mg./ml.	One.

11.	Inhalant beta adrenergic		One.

agent of choice with

nebulizer apparatus, as

approved by the medical

director.

_____________________________________________________________________________________________________

I.V. Solutions	Minimum Amount	Minimum Quantity

_____________________________________________________________________________________________________

a.	Dextrose 5 percent in	2,000 ml.	In any combination.

Water (D5W).

b.	Lactated Ringers or	4,000 ml.	In any combination.

Normal Saline.

Specific Authority 381.0011, 401.25, 401.251, 401.265, 401.35 FS. Law Implemented 381.0011, 395.405, 401.23, 401.24, 401.25, 401.251, 401.252, 401.26, 401.27, 401.30, 401.31, 401.321, 401.34, 401.35, 401.41, 401.411, 401.414, 401.421 FS. History–New 11-29-82, Amended 4-26-84, 3-11-85, Formerly 10D-66.51, Amended 4-12-88, 8-3-88, 8-7-89, 12-10-92, 11-30-93, 10-2-94, 1-26-97, Formerly 10D-66.051, Amended 1-3-99, 9-3-00, 5-15-01.