Notice of Change/Withdrawal

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-600.200	Definitions

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 47 No. 189, September 29, 2021 issue of the Florida Administrative Register.

The following changes are made in response to written public comment.

THE FULL TEXT OF THE PROPOSED RULE IS:

PART I GENERAL

62-600.200 Definitions.

Terms used in this chapter shall have the meanings specified below.

(1) through (31) No change.

(32) “Inflow” means surface water and stormwater that enters a collection/transmission system, including through service connections, from sources such as roof leaders, cellar drains, yard drains, area drains, drains from wet areas, foundation drains, cross connections between storm sewers and sanitary sewers, catch basins, stormwater, surface runoff, manhole covers, or drainage. Inflow does not include permitted industrial discharges into the collection system or the intentional introduction of water into a collection system to supplement reclaimed water supplies., Inflow does not include, and is distinguished from, infiltration. Inflow is generally observed during wet weather as well as and in coastal communities, during some high tide flooding events.

(33) through (87) No change.

Rulemaking Authority 403.051, 403.061, 403.086, 403.087, 403.088 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088 FS. History–New 11-27-89, Amended 1-30-91, 6-8-93, Formerly 17-600.200, Amended 12-24-96, 2-8-16, 9-27-21,         .