- 64E-4.004 Laser Safety Officer (LSO).

The registrant shall designate a LSO who is responsible for laser radiation protection and who shall be responsible for the following duties:

(1) Establish and supervise a program of laser radiation safety for effective compliance with the requirements of these rules.

(2) Provide instructions concerning hazards and safety practices to individuals who may be exposed to laser radiation and to individuals who operate the lasers.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (d) FS. History–New 9-6-84, Amended 12-12-96, Formerly 10D-89.111.