- 64E-4.012 Records.

(1) Each registrant shall maintain current records, which shall be kept available to inspection by the Department, showing:

(a) The results of all surveys required under Rule 64E-4.009, F.A.C.

(b) The results of all instrument calibrations under Rule 64E-4.010, F.A.C.

(c) The reports of incidents as described under Chapter 64E-4, F.A.C.

(2) The registrant shall maintain such records required by Rule 64E-4.012, F.A.C., for 5 years.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, Formerly 10D-89.127.