## 64E-5.104 Tests.

Each licensee and registrant shall perform upon instructions from the Department, and shall permit the Department to perform, such reasonable tests as the Department deems appropriate and necessary, including tests of:

(1) Sources of radiation;

(2) Facilities wherein sources of radiation are used or stored;

(3) Radiation detection and monitoring instruments; and,

(4) Other equipment and devices used in connection with utilization or storage of licensed or registered sources of radiation.

Rulemaking Authority 404.051, 404.061 FS. Law Implemented 404.022, 404.051(1), (7), 404.061(2), 404.22(1) FS. History–New 7-17-85, Formerly 10D-91.106.