- 64E-5.321 Control of Sources of Radiation Not in Storage.

(1) The licensee shall control and maintain constant surveillance of licensed radioactive material that is in an unrestricted area and that is not in storage or in a patient.

(2) The registrant shall maintain control of radiation machines that are in a restricted or unrestricted area and that are not in storage.

Rulemaking Authority 404.051, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), 404.081 FS. History–New 1-1-94, Formerly 10D-91.454.