- 64E-5.336 Records of Surveys.

(1) Each licensee or registrant shall maintain records showing the results of surveys and calibrations required by Rule 64E-5.314 and subsection 64E-5.327(2), F.A.C. The licensee or registrant shall retain these records for 3 years after the record is made.

(2) The licensee or registrant shall retain each of the following records until the department terminates each pertinent license or registration requiring the record:

(a) Records of the results of surveys to determine the dose from external sources of radiation used in the assessment of individual dose equivalents in the absence of or in combination with individual monitoring data;

(b) Records of the results of measurements and calculations used to determine individual intakes of radioactive material and used in the assessment of internal dose;

(c) Records showing the results of air sampling, surveys, and bioassays specified in subparagraphs 64E-5.319(1)(c)1. and 2., F.A.C.; and,

(d) Records of the results of measurements and calculations used to evaluate the release of radioactive effluents to the environment.

Rulemaking Authority 404.051, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), 404.081 FS. History–New 1-1-94, Formerly 10D-91.471.