- 64E-5.341 Records of Testing Entry Control Devices for Very High Radiation Areas.

(1) Each licensee or registrant shall maintain records of tests specified in paragraph 64E-5.317(2)(a), F.A.C., on entry control devices for very high radiation areas. The records must include the date, time, and results of each such test of function.

(2) The licensee or registrant shall retain the records required by subsection 64E-5.341(1), F.A.C., for 3 years after the record is made.

Rulemaking Authority 404.051, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), 404.081 FS. History–New 1-1-94, Formerly 10D-91.478.