Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On December 13, 2021, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from Marion County Board of Commission at 109 W Silver Springs Blvd, Ocala, FL, filed September 9, 2021, and advertised on September 16, 2021, in Vol. 47, No. 180, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rules 2.14.5.7, 2.15.9, 2.26.1.4.3, 2.26.2.21, and 2.27.1.1.3, ASME A17.1, 2016 edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires restricted opening of car doors, platform guards, in-car inspection operation provisions, in-car stop switch, and two-way communication means compliance because the Petitioner has not demonstrated that the purpose of the underlying statute has been met and that the Petitioner would suffer a substantial hardship if required to comply with this rule (VW2021-138).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.