64E-5.604 ALARA Program.

(1) Each licensee shall develop and implement a written program to maintain radiation doses and releases of radioactive material in effluents to unrestricted areas as low as reasonably achievable as provided in Rule 64E-5.303, F.A.C.

(2) The management, radiation safety officer, and all authorized users shall participate in the establishment, implementation, and operation of the program as required by these regulations or the radiation safety committee.

(3) For licensees that are not medical institutions, management and all authorized users shall participate in the program as required by the radiation safety officer.

(4) The ALARA program shall include an annual review by the radiation safety committee for medical institution licensees, or by management and the radiation safety officer for licensees that are not medical institutions. The review shall include summaries of the types, amounts and purposes of radioactive material used; occupational dose reports; and continuing education and training of all personnel who work with or in the vicinity of radioactive material. The purpose of the review is to ensure that individuals make every reasonable effort to maintain occupational doses, doses to the general public, and releases of radioactive material as low as reasonably achievable, taking into account the state of technology and the cost of improvements in relation to benefits.

(5) The licensee shall retain a current written description of the ALARA program for the duration of the license. The written description shall include:

(a) A commitment by management to keep occupational doses as low as reasonably achievable;

(b) A requirement that the radiation safety officer annually report to management in writing on the radiation safety program; and

(c) Categories of personnel exposure levels that, when exceeded, will initiate investigation by the radiation safety officer of the cause of the exposure and actions taken to reduce the probability of recurrence.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Amended 1-1-94, Formerly 10D-91.710.