64E-5.605 Radiation Safety Officer.

(1) A licensee shall appoint a radiation safety officer responsible for implementing the radiation safety program. The licensee, through the radiation safety officer, shall ensure that radiation safety activities are performed with approved procedures and regulatory requirements in the daily operation of the licensee’s radioactive materials program.

(2) The radiation safety officer shall promptly investigate and implement corrective actions as necessary regarding:

(a) Overexposures;

(b) Accidents;

(c) Spills;

(d) Losses;

(e) Thefts;

(f) Unauthorized receipts, uses, transfers, and disposals; and

(g) Other deviations from approved radiation safety practice. A written report of these investigations and the corrective actions taken shall be given to management.

(3) The radiation safety officer shall implement written policies and procedures to:

(a) Authorize the purchase of radioactive material;

(b) Receive and open packages of radioactive material;

(c) Store radioactive material;

(d) Keep an inventory record of radioactive material;

(e) Use radioactive material safely;

(f) Take emergency action if control of radioactive material is lost;

(g) Perform periodic radiation surveys;

(h) Perform checks of survey instruments and other safety equipment;

(i) Dispose of radioactive material;

(j) Train personnel who work in or frequent areas where radioactive material is used or stored; and

(k) Keep a copy of all records and reports required by department regulations, a copy of these regulations, a copy of each licensing request and license including amendments, and the written policies and procedures required by the regulations.

(4) The radiation safety officer shall approve radiation safety program changes for medical use not at a medical institution with the consent of management prior to sending to the department for licensing action.

(5) The radiation safety officer shall assist the radiation safety committee for medical use at a medical institution.

(6) The radiation safety officer shall review at least every 3 months the occupational radiation exposure records of all personnel working with radioactive material.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.711.