64E-5.616 Assay of Radiopharmaceutical Dosages.

(1) A licensee shall assay within 30 minutes before use the activity of each photon-emitting radiopharmaceutical dosage. A record of the assay shall be made, which shall include:

(a) The generic name, trade name, or abbreviation of the radiopharmaceutical; its lot number; expiration date; and the radionuclide;

(b) The patient’s name and identification number if one has been assigned;

(c) The prescribed dosage and activity of the dosage at the time of assay or a notation that the total activity assayed is less than 10 microcuries (370 kBq);

(d) The date and time of the assay and administration; and

(e) The initials of the individual who performed the assay.

(2) A licensee shall retain a record of the assays required by subsection 64E-5.616(1), F.A.C., for 3 years.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Amended 5-12-93, Formerly 10D-91.722.