64E-5.617 Authorization for Calibration and Reference Sources.

Any person authorized by Rule 64E-5.601, F.A.C., for medical use of radioactive material may receive, possess, and use the following radioactive material for check, calibration and reference use:

(1) Sealed sources manufactured and distributed by persons specifically licensed by the department, the U.S. Nuclear Regulatory Commission, an agreement state, or a licensing state that do not exceed 15 millicuries (555 MBq) each;

(2) Samarium 153 and any radioactive material listed in Rule 64E-5.626 or 64E-5.627, F.A.C., with a half-life of 100 days or less in individual amounts not to exceed 15 millicuries (555 MBq) each;

(3) Any radioactive material listed in Rule 64E-5.626 or 64E-5.627, F.A.C., with a half-life greater than 100 days in individual amounts not to exceed 200 microcuries (7.4 MBq) each; and

(4) Technetium 99m in individual amounts not to exceed 100 millicuries (3.7 GBq) each.

Specific Authority 404.051, 404.061, 404.141 FS. Law Implemented 404.051(1), (4), (6), (10), 404.061(2), 404.141 FS. History–New 8-25-91, Formerly 10D-91.723, Amended 5-18-98.