64E-5.625 Safety Instruction and Precautions for Radiopharmaceutical Therapy, Brachytherapy, and Teletherapy.

(1) A licensee shall provide oral and written radiation safety instructions to all personnel caring for patients undergoing radiopharmaceutical therapy or brachytherapy and to personnel who operate a teletherapy unit. Refresher training shall be provided at least every 12 months. The instruction shall describe the licensee’s procedures for notification of the radiation safety officer or authorized user in case of the patient’s death or medical emergency.

(2) The instruction for radiopharmaceutical therapy shall describe the procedures for:

(a) Patient control;

(b) Visitor control;

(c) Contamination control; and

(d) Waste control.

(3) The instruction for brachytherapy shall describe:

(a) Size and appearance of the brachytherapy sources;

(b) Safe handling and shielding instructions in case of a dislodged source;

(c) Procedures for patient control; and

(d) Procedures for visitor control.

(4) A licensee shall provide instruction and post conspicuously written instructions at the teletherapy unit console. These instructions shall inform the operator of:

(a) The procedure to be followed to ensure that only the patient is in the treatment room before turning on the primary beam of radiation or after a door interlock interruption;

(b) The procedure to be followed if the operator is unable to turn off the primary beam of radiation with controls outside the treatment room or any other abnormal operation occurs; and

(c) The names and telephone numbers of the authorized users and radiation safety officer to be immediately contacted if the teletherapy unit or console operates abnormally.

(5) A licensee shall keep a record of individuals receiving instruction required by (1), (2), and (3), above, which includes a description of the instruction, the date of instruction, and the name of the individual who gave the instruction. Such record shall be maintained for inspection by the department for 3 years.

(6) A licensee shall take the following safety precautions for each patient receiving brachytherapy or radiopharmaceutical therapy and hospitalized.

(a) Post the patient’s door with a “Caution: Radioactive Material” sign and note on the door or on the patient’s chart where and how long visitors may stay in the patient’s room.

(b) Authorize visits by individuals under 18 years of age only with the approval of the authorized user after consultation with the radiation safety officer.

(c) Measure promptly, after administration of the dosage, the dose rates in contiguous restricted and unrestricted areas with a radiation measurement survey instrument to demonstrate compliance with the requirements of Rule 64E-5.312, F.A.C. Retain for 3 years a record of each survey that includes the time and date of the survey, a plan of the area or list of points surveyed, the measured dose rate at several points expressed in millirems per hour, the instrument used to make the survey, and the initials of the individual who made the survey.

(d) Provide the patient with radiation safety guidance before authorizing release of the patient that will help to keep radiation dose to household members and the public as low as reasonably achievable.

(e) Notify the radiation safety officer or the authorized user immediately if the patient dies or has a medical emergency.

(7) A licensee shall provide a private room with a private sanitary facility for a radiopharmaceutical therapy patient. The licensee shall not place a brachytherapy patient in the same room with a patient who is not receiving radiation therapy unless the licensee can demonstrate compliance with the requirements of paragraph 64E-5.312(1)(c), F.A.C., at a distance of 1 meter from the implant.

(8) A licensee shall take these additional safety precautions for radiopharmaceutical therapy patients who are hospitalized:

(a) Monitor material and items removed from the patient’s room to determine that any contamination cannot be distinguished from the natural background radiation level with a radiation detection survey instrument set on its most sensitive scale and with no interposed shielding, or handle these materials and items as radioactive waste.

(b) Survey the patient’s room and private sanitary facility for removable contamination before assigning another patient to the room. The room shall not be reassigned until removable contamination is less than 200 disintegrations per minute (3.33 Bq) per 100 square centimeters or the wipe samples are equal to background when surveyed with an instrument using a probe with a maximum window thickness of 2.0 mg/cm and a minimum probe diameter of 1.5 inches.

(c) Establish a bioassay program to measure the thyroid burden of each individual who helped prepare or administer a dosage of liquid iodine 131 within 3 days after administering the dosage, and retain for the period required by subsection 64E-5.339(5), F.A.C., a record of each thyroid burden measurement, the date of measurement, the name of the individual whose thyroid burden was measured, and the initials of the individual who made the measurements. Action levels and corresponding actions will be in accordance with the U.S. Nuclear Regulatory Commission’s Regulatory Guide 8.20, Revision 1, September, 1979.

Specific Authority 404.051, 404.061, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (6), (10), (11), 404.061(2), (3), 404.081, 404.141 FS. History–New 5-15-96, Formerly 10D-91.7321.