64E-5.626 Use of Radiopharmaceuticals for Uptake, Dilution, or Excretion Studies.

A licensee is allowed to use any radioactive material in a radiopharmaceutical for a diagnostic use involving measurements of uptake, dilution, or excretion for medical use that is either:

(1) Obtained from a manufacturer or pharmacy licensed as specified in subsection 64E-5.210(10), F.A.C., or in equivalent U.S. Nuclear Regulatory Commission or Agreement State regulations; or

(2) Prepared by an authorized nuclear pharmacist as specified in Rule 64B16-28.903, F.A.C., or by a physician who is an authorized user.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.733, Amended 8-6-01.