64E-5.631 Use of Sealed Sources for Diagnosis.

A licensee shall follow the manufacturer’s radiation safety and handling instructions and use only the following sealed sources for diagnosis:

(1) Iodine 125 as a sealed source in a device for bone mineral analysis;

(2) Iodine 125 as a sealed source in a portable device for imaging;

(3) Gadolinium 153 as a sealed source in a device for bone mineral analysis; and

(4) Americium 241 as a sealed source in a device for bone mineral analysis.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.743.