64E-5.645 Modification of Teletherapy Unit or Room Before Beginning a Treatment Program.

If the survey required by Rule 64E-5.643, F.A.C., indicates that any individual member of the public is likely to receive a dose in excess of those specified paragraph 64E-5.312(1)(c), F.A.C., before beginning the treatment program the licensee shall comply with (1) or (2) below:

(1) Equip the unit with stops or add additional radiation shielding to ensure compliance with paragraph 64E-5.312(1)(c), F.A.C.; perform the survey required by Rule 64E-5.643, F.A.C., again; and include in the report required by Rule 64E-5.646, F.A.C., the results of the initial survey, a description of the modification made to comply with subsection 64E-5.645(1), F.A.C., and the results of the second survey.

(2) Request and receive a license amendment as provided in subsection 64E-5.312(3), F.A.C., that authorizes radiation levels in unrestricted areas greater than those permitted by paragraph 64E-5.312(1)(c), F.A.C.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Amended 1-1-94, Formerly 10D-91.764, Amended 10-8-00.