64E-5.649 Training for Uptake, Dilution, or Excretion Studies.

Except as provided in Rule 64E-5.657, F.A.C., the licensee shall require the authorized user of a radiopharmaceutical listed in Rule 64E-5.626, F.A.C., to be certified as specified in (1) below or to complete training and experience as specified in (2) below or to complete training as specified in (3) below.

(1) Certification shall be in:

(a) Nuclear medicine by the American Board of Nuclear Medicine;

(b) Diagnostic radiology by the American Board of Radiology;

(c) Diagnostic radiology or radiology within the previous 5 years by the American Osteopathic Board of Radiology; or

(d) Nuclear medicine by the American Osteopathic Board of Nuclear Medicine.

(2) Training and experience shall be as follows:

(a) Forty hours of instruction in basic radionuclide handling techniques applicable to the use of prepared radiopharmaceuticals, including:

1. Fifteen hours of radiation physics and instrumentation;

2. Ten hours of radiation protection;

3. Five hours of mathematics pertaining to the use and measurement of radioactivity;

4. Five hours of radiation biology; and

5. Five hours of radiopharmaceutical chemistry.

(b) Twenty hours of training under the supervision of an authorized user including:

1. Examining patients and reviewing their case histories to determine their suitability for radionuclide diagnosis, limitations, or contraindications;

2. Selecting the suitable radiopharmaceuticals and calculating and measuring the dosages;

3. Administering dosages to patients and using syringe radiation shields;

4. Collaborating with the authorized user in the interpretation of radionuclide test results; and

5. Patient follow-up.

(3) Training shall be a 6 month training program in nuclear medicine as part of a training program that has been approved by the Accreditation Council for Graduate Medical Education and shall include classroom and laboratory training, work experience, and supervised clinical experience in all the topics identified in subsection 64E-5.649(2), F.A.C.

Specific Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.769.