64E-5.1112 Personnel Monitoring.

No licensee or registrant shall permit any individual to act as a logging supervisor or to assist in the use of sources of radiation unless such individual wears a film badge, optically stimulated luminescent device (OSLD), or a thermoluminescent dosimeter (TLD). Each film badge, OSLD, or TLD shall be assigned to and worn by only one individual.

Specific Authority 404.051, 404.061, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), 404.061(2), 404.081(1), (2) FS. History–New 7-17-85, Amended 5-15-96, Formerly 10D-91.1213, Amended 10-8-00.