- 64E-5.1114 Handling Tools.

The licensee shall provide and require the use of tools that will assure remote handling of sealed sources except for low-activity calibration sources that result in a gamma exposure rate at contact of less than 100 milliroentgens (2.58 × 10-5 uC per kg) per hour.

Rulemaking Authority 404.051, 404.061 FS. Law Implemented 404.022, 404.051(1), (4), 404.061(2) FS. History–New 7-17-85, Formerly 10D-91.1215.