- 64E-5.1120 Subjects to Be Included in Training Courses for Logging Supervisors.

The following subjects: must be included in training courses for logging supervisors.

(1) Fundamentals of radiation safety, including:

(a) Characteristics of radiation;

(b) Units of radiation dose and, if appropriate, quantity of radioactivity;

(c) Significance of radiation dose, including:

1. Radiation protection standards; and,

2. Biological effects of radiation dose;

(d) Levels of radiation from sources of radiation; and,

(e) Methods of minimizing radiation dose, including:

1. Working time;

2. Working distances; and,

3. Shielding.

(2) Radiation detection instrumentation to be used, including:

(a) Use of radiation survey instruments, including operation, calibration and limitations;

(b) Survey techniques; and,

(c) Use of personnel monitoring equipment.

(3) Equipment to be used, including:

(a) Handling equipment, if appropriate;

(b) Sources of radiation;

(c) Storage precautions, if appropriate, and control of equipment; and,

(d) Operation and control of equipment.

(4) The requirements of these regulations.

(5) The licensee’s or registrant’s written operating and emergency procedures.

(6) The licensee’s or registrant’s record keeping procedures.

Rulemaking Authority 404.051, 404.061, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), 404.061(2), 404.081(1), 404.22 FS. History–New 7-17-85, Formerly 10D-91.1221.