64E-5.1203 General Provisions.

(1) Beginning January 1, 1989, no person may test for or mitigate the presence of radon in Florida for a fee or other remuneration unless such person has been certified as provided by this part. These regulations in no way exempt any person from other state and local occupational licensure requirements.

(2) The certification requirements of this part shall not apply to a commercial business that subcontracts radon measurements to a certified radon business when the complete radon report from the certified radon business is provided to the client and interpretations of the results are provided by the certified business.

(3) No certification shall be approved unless the applicant demonstrates to the department that the following conditions are met:

(a) The applicant has not been found to be in violation of Chapter 404, Florida Statutes, or this part, and has not been decertified;

(b) The applicant has filed an accurate and complete application with the application fee describing compliance with the relevant certification requirements.

(4) Requirements for continued certification shall include the following conditions:

(a) The certified person shall conduct his activities as described in the approved certification and shall remain in compliance with Chapter 404, Florida Statutes, and this part.

(b) The certified person shall allow authorized representatives of the department to have access during normal business hours to his facilities, offices and files for inspection and examination of radon-related records, measurement procedures and mitigation system design and installations. The certified person shall also allow authorized representatives of the department to inspect the on site radon measurement or mitigation activities.

(c) The following changes shall be reported in writing to the department within 10 business days of the change: changes to the name or address of a certified individual or business; changes in the information provided with the original business application, including changes in certified personnel; changes in analytical service providers used; changes in USEPA proficiency status; and changes to the measurement or mitigation methods used. New measurement methods shall comply with the Quality Assurance Plan requirements specified in subsection 64E-5.1206(5), F.A.C.

(5) Prior to performing radon measurement or radon mitigation services, including sample collection, analysis, or interpretation of measurement results a certified individual shall own, be employed by, or be retained as a consultant to a certified radon measurement or certified radon mitigation business.

(6) A certification will be valid for 1 year following the date of issuance. If renewal is requested more than 90 days after an expired certification, a new application must be submitted for recertification. After 1 year, previously certified applicants must attend a department-approved training course. A duplicate certificate can be obtained by written request to the department and payment of a five dollar fee.

(7) A request for annual certification renewal shall be submitted with a nonrefundable renewal fee of $200. A certification renewal shall be issued or denied according to the criteria set forth in this part.

(8) A certified individual in good standing who becomes an active duty member of the Armed Forces of the United States prior to the expiration of the renewal period shall remain in good standing while on active duty and for a period of 6 months after discharge from active duty. No radon measurement or mitigation activity for which certification is required shall be conducted after the expiration of the term of certification.

(9) A certified individual in good standing who is absent from the state because of their spouse’s active duty with the Armed Forces of the United States prior to the expiration of the renewal period shall remain in good standing while their spouse is on active duty and for a period of 6 months after their spouse’s discharge from active duty. No radon measurement or mitigation activity for which certification is required shall be conducted after the expiration of the term of certification.

(10) All applications should clearly label any information considered trade secrets and must segregate such information from other information as required by Section 119.165, Florida Statutes.

(11) The department will approve training courses for certification based upon evaluation of course materials and content. These courses shall meet the following requirements.

(a) The course subjects shall be applicable to Florida, shall enable the students to meet training objectives provided by the department and shall include at least the following:

1. Radon Measurement Specialist Training.

a. Two hours of instruction on radioactivity, radon, and radon’s health effects.

b. One and one-half hours of instruction on Florida’s radon legislation and administrative rules and federal radon legislation and proficiency programs.

c. Two and one-half hours of instruction on radon entry and behavior.

d. One hour of instruction on worker health and safety.

e. Seven hours of instruction on radon measurement devices, techniques and protocols.

f. One and one-quarter hours of instruction on building investigation and diagnostics and mitigation strategies and techniques applicable to Florida.

g. One-half hour of instruction on radon-resistant building techniques for new construction applicable to Florida.

h. One hour of instruction on measurement and mitigation techniques for radon in domestic water.

2. Radon Measurement Technician Training.

a. One and one-quarter hours of instruction on radioactivity, radon, and radon’s health effects.

b. One and one-half hours of instruction on Florida’s radon legislation and administrative rules and federal radon legislation and proficiency programs.

c. One and three-quarters hours of instruction on radon entry and behavior.

d. One hour of instruction on worker health and safety.

e. Five hours of instruction on radon measurement devices, techniques and protocols, including 1 hour of experience deploying, retrieving and reporting results of various measurement devices.

f. One-half hour of instruction on mitigation strategies and techniques applicable to Florida.

g. One-half hour of instruction on radon-resistant building techniques for new construction applicable to Florida.

h. One-half hour of instruction on measurement and mitigation techniques for radon in domestic water.

3. Radon Mitigation Specialist Training.

a. Two hours of instruction on radioactivity, radon, and radon’s health effects.

b. One and one-half hours of instruction on Florida’s radon legislation and administrative rules and federal radon legislation and proficiency programs.

c. Two and one-half hours of instruction on radon entry and behavior.

d. One hour of instruction on worker health and safety.

e. Three-quarters hour of instruction on radon measurement devices, techniques and protocols.

f. One-half hour of instruction on radon-resistant building techniques for new construction applicable to Florida.

g. One hour of instruction on measurement and mitigation techniques for radon in domestic water.

h. Three and one-half hours of instruction on building investigation and diagnostics and mitigation strategies and techniques applicable to Florida.

i. Six and one-half hours of instruction on mitigation system theory, design and installation applicable to Florida.

4. Radon Mitigation Technician Training.

a. One and one-quarter hours of instruction on radioactivity, radon, and radon’s health effects.

b. One and one-half hours of instruction on Florida’s radon legislation and administrative rules and federal radon legislation and proficiency programs.

c. One and three-quarters hours of instruction on radon entry and behavior.

d. One hour of instruction on worker health and safety.

e. Three-quarters hour of instruction on radon measurement devices, techniques and protocols.

f. One-half hour of instruction on radon-resistant building techniques for new construction applicable to Florida.

g. Three-quarters hour of instruction on measurement and mitigation techniques for radon in domestic water.

h. Three hours of instruction on building investigation and diagnostics and mitigation strategies and techniques applicable to Florida.

i. Five hours of instruction on mitigation system theory and installation applicable to Florida.

(b) Participants shall be given an opportunity to evaluate in writing the learning experiences, instructors, instructional methods, facilities and resources used for the course. Results of these evaluations shall be available for inspection by the department for 3 years after completion of the course.

(c) The subject matter shall be kept current and represent accepted protocols and techniques.

(d) The course provider shall furnish each participant who has attended the entire course a written verification of completion which includes:

1. Date of course;

2. Signature and name of provider;

3. Course title; and

4. Name of participant.

(e) Course providers shall send to the department a roster of participants who have attended the entire course within 30 days after each course on DH Form 1812 Apr 90 available from the department and herein incorporated by reference. Providers shall maintain security of attendance records. Course providers shall maintain records of individual courses for 3 years after completion of the course for inspection by the department.

(f) A course provider seeking approval to conduct a radon certification training course shall make application on DH Form 1813 Apr 90, available from the department and herein incorporated by reference.

(g) The course provider also shall submit to the department a copy of the proposed curriculum, all training materials, and information concerning the proposed instructors.

(h) The course provider shall allow authorized representatives of the department to observe and evaluate training sessions, instructors and course material without charge.

(i) Any proposed changes in course materials or instructors shall be reported in writing to the department at least 15 business days before implementation of the change.

(j) Approval of a course shall be valid for a period of 24 months. Approval shall be withdrawn if the department determines that the course approval requirements are not met.

Specific Authority 404.042, 404.051, 404.056 FS. Law Implemented 404.051(1), (10), 404.056(5), 404.071(1) FS. History–New 1-3-89, Amended 5-21-90, 10-24-90, 1-18-94, 12-9-96, Formerly 10D-91.1304.