- 64E-5.1304 Inventory Requirements.

A licensee who possesses sealed sources shall conduct a physical inventory of all such sealed sources semiannually unless another interval is specified in the license. Inventory records shall be retained for 3 years. Inventory records shall contain the following:

(1) The model and serial number of each sealed source;

(2) The identity of each sealed source radionuclide and its estimated activity;

(3) The location of each sealed source;

(4) The date of the inventory; and,

(5) The signature of the radiation safety officer or designee.

Rulemaking Authority 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Formerly 10D-91.1405.