- 64E-5.1305 Training Requirements, Authority, Duties and Responsibilities of the Radiation Safety Officer.

(1) The licensee shall appoint a radiation safety officer with the authority to fulfill the duties and responsibilities listed in this part.

(2) The radiation safety officer shall have sufficient training and experience with radioactive materials to be a user of the requested licensed materials, unless otherwise specified in the license. This training shall include practical experience in the safe use of radioactive materials and knowledge of procedures, facilities and equipment.

(3) The duties and responsibilities of the radiation safety officer shall include the following:

(a) Ensure that all terms and conditions of the license and these regulations are complied with;

(b) Ensure that the sealed sources are leak tested timely and as prescribed by the manufacturer or by the license;

(c) Ensure that radioactive materials are used only by individuals who are authorized by the license and that all individuals wear required personnel monitoring equipment;

(d) Maintain all records required by the license and these regulations. These records shall include personnel monitoring records, leak test records, inventory records, training records for users and receipt, transfer and disposal records;

(e) Ensure that radioactive materials are properly secured against unauthorized access or removal;

(f) Serve as a contact with the department for events such as the loss, theft or damage of radioactive material; and,

(g) Ensure that all users read and understand the licensee’s emergency, operating and radiation safety procedures.

Rulemaking Authority 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Formerly 10D-91.1406.