- 64E-5.1315 Additional Requirements.

A licensee must post and provide to personnel lock-out procedures that prevent employees from entering the radiation beam during maintenance, repairs, or other work in, on, or around a bin, tank, hopper or pipe on which a device is mounted. The department is authorized to require a physical barrier around certain types of devices where the possibility exists that an individual could be exposed to the beam of radiation.

Rulemaking Authority 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Formerly 10D-91.1420.