64E-8.008 Public Notification.

The supplier shall provide public notification as required in paragraphs 64E-8.007(2)(b) and (5)(a), F.A.C., to consumers as follows:

(1) Notices shall caution consumers not to consume the water, explain the violation and describe, in non-technical terms, the supplier’s corrective actions.

(2) Notices shall be neatly printed in large type and the supplier shall provide a copy to the county health department.

(3) The supplier shall deliver notices to consumers served by a Limited Use Community or Private System within 24 hours of being notified of the violation.

(4) The supplier shall post notices at water outlets in Limited Use Commercial Systems within 12 hours of being notified of the violation.

(5) The supplier shall take special actions where consumers are not capable of reading, such as verbal notification and disabling water outlets.

(6) Upon departmental release of the system, the supplier shall provide a notice to consumers that rescinds the original notice, in the same manner as required in subsections 64E-8.008(1)-(5), F.A.C.

Specific Authority 381.0011(4), (13), 381.006, 381.0062(1), (3)(a), 403.862(1)(f) FS. Law Implemented 381.0011(8), 381.0012, 381.006(1), (2), 381.0061, 381.0062, 381.0067, 403.862(1)(f) FS. History–New 1-1-93, Amended 8-20-96, Formerly 10D-4.031, Amended 1-26-98, 10-7-02.