Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by the American Council of Engineering Companies of Florida on January 7, 2022. The following is a summary of the agency's disposition of the petition: Petitioner requested an answer to the following question, based upon the project described within its petition: Pursuant to Sections 553.79 and 553.791, Florida Statutes (2021), may a qualified private entity perform both private provider services and required threshold inspections on the same threshold building? On February 8, 2022, the Commission provided the following answer: yes; paragraph 553.79(5)(a) Florida Statutes (2021), does not prohibit an entity from both performing special inspections on a threshold building and private provider services for that building. A special inspector does not “serve as a surrogate” for carrying out the responsibilities of the building official merely by providing private provider services, since the local enforcing agency possesses and retains various oversight responsibilities and powers with respect to both special inspections and private provider services. As long as an entity has the appropriate qualifications to offer private provider services and to perform threshold inspections, the provisions of subsection 553.79(5), Florida Statutes (2021), do not prohibit that entity from performing both private provider services and threshold inspections on the same building.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.