64E-20.002 Testing and Standards.

(1) The Department of Health hereby adopts and incorporates by reference the Grade "E" air quality standard cited in the Commodity Specification for Air, CGA G-7.1-1997, published by the Compressed Gas Association (CGA) as their standard for maximum allowable level of contaminants.

(2) Providers must submit to the Department of Health on a quarterly basis the test results from an accredited laboratory.  These test results may be provided to the Department of Health, Bureau of Facility Programs, by e-mail, facsimile transmission, by regular mail or as described on voluntary DH form 4125, 1/2000.

Specific Authority 381.895(6) FS.  Law Implemented 381.895 FS. History–New 5-11-00.