64E-20.003  Non-compliance.

(1) Any provider or entity which fails to submit test results on the quarterly schedule, or fails to post test results in a conspicuous location, or which submits test results not in compliance with the standards set forth in this rule and continues to provide compressed air for compensation after receiving a failed test report, shall be in violation of this rule and Section 381.895, F.S.

(2) The Department of Health shall issue a Notice of Non-Compliance in the event a person or entity fails to submit test results on the quarterly schedule established by the Department of Health, or fails to post a certificate from an accredited laboratory in a conspicuous location.

Specific Authority 381.895(6) FS.  Law Implemented 381.895 FS. History–New 5-11-00.