64E-26.003 Water Supply.

Water supplies shall be adequate to serve the demands of the detention facility and should be from an approved existing public supply where possible. When an on-site water supply is developed, the system shall be constructed, operated, and maintained in accordance with requirements of Chapters 62-550, 62-555, and 62-560, F.A.C., to insure that the water supply is of safe bacteriological and chemical quality. Routine water samples shall be submitted to determine that the quality of the water does not deteriorate.

Specific Authority 381.006 FS. Law Implemented 381.006(6) FS. History–New 11-18-76, Formerly 10D-7.03.