- 69A-52.003 State Fire Marshal Responsibilities for State Buildings and Premises; Plans Review and Building Site Inspections.

(1) The State Fire Marshal shall perform a review of plans pursuant to section 633.218, F.S., and perform inspections in accordance with Rule 69A-3.011, F.A.C., for the fees established by Rule 69A-52.004, F.A.C.

(2) A request to review plans pursuant to section 633.218, F.S., must be submitted electronically on Form DFS-K3-1973, “Bureau of Fire Prevention Online Portal – Plans Review,” eff. 03/22, which is incorporated by reference and is available through the online portal for The Bureau of Fire Prevention Plans Review Section at https://www.citizenserve.com/120/CAPFor120 and at https://flrules.org/Gateway/reference.asp?No=Ref-14082. A request for plans review may also be submitted on the Form DFS-K3-1973, “Bureau of Fire Prevention Oneline Portal – Plans Review,” by mailing the form to 200 East Gaines Street, Tallahassee, Florida 32399, ATTN: State Fire Marshal Plans Review Unit.

(3) A request for a building site inspection must be submitted on Form DFS-K3-1528, “Request for Building Site Inspection,” eff. 03/22, which is incorporated by reference and available at https://www.flrules.org/Gateway/reference.asp?No=Ref-14083, and https://www.myfloridacfo.com/division/sfm/bfst/Documents/DSFMFORMS.pdf.

Rulemaking Authority 633.104, 633.218 FS. Law Implemented 633.218 FS. History–New 6-18-91, Amended 9-6-01, Formerly 4A-52.003, Amended 11-22-09, 4-26-22.