Notice of Meeting/Workshop Hearing

DEPARTMENT OF ENVIRONMENTAL PROTECTION

The Department of Environmental Protection announces a public meeting/hearing to which all persons are invited.

DATE AND TIME: June 21, 2022, 9:00 a.m.

PLACE: Webinar Registration: https://attendee.gotowebinar.com/register/8589568876816246283

GENERAL SUBJECT MATTER TO BE CONSIDERED: The purpose of this public meeting/hearing is to inform the public about, and receive public comment on, the establishment of the Level II Water Quality Based Effluent Limitations (WQBELs) for Gainesville Regional Utilities (GRU) Main Street Water Reclamation Facility (MSWRF) and the John R. Kelly Generating Station (KGS). The WQBEL has two main components. First, a portion of the WQBEL will become the Hierarchy 1 site specific interpretation of the narrative nutrient criteria pursuant to sub-subparagraph 62-302.531(2)(a)1.d., F.A.C. for Sweetwater Branch, that will supersede otherwise applicable numeric nutrient criteria for this particular surface water segment. Specifically, this Hierarchy 1 Level II WQBEL establishes the total nitrogen (TN) (215,616 lbs/yr expressed as an annual average) and total phosphorus (TP) (16,038 lbs/yr expressed as an annual average) loads from all sources to Sweetwater Branch in addition to a TP concentration of 0.3 mg/L and chlorophyll a concentration of 1.9 µg/L expressed as stream-wide annual geometric means (AGMs), as the site specific numeric interpretations of the narrative nutrient criterion. Second, the WQBEL allocates a portion of this total allowable nutrient loading to the MSWRF as an effluent limitation of 182,646 lbs/yr of TN and 11,644 lbs/yr for TP, and to the KGS as an effluent limitation of 3,060 lbs/yr TN and 843 lbs/yr TP.

A copy of the agenda may be obtained by contacting: Avril Wood-McGrath, Department of Environmental Protection, Water Quality Standards Program, MS #6511, 2600 Blair Stone Road, Tallahassee, FL 32399-2400, (850)-245-8429, or at Avril.Wood-McGrath@floridadep.gov.

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: Avril Wood-McGrath at (850)245-8429. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).