Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-762.501	System Requirements for Shop Fabricated Storage

The Department of Environmental Protection hereby gives notice:

That it has issued an order on April 22, 2022, granting Moffitt Cancer Center’s Petition for a Variance. The Petition was received on February 3, 2022. Notice of receipt of this Petition was published in the Florida Administrative Register on February 8, 2022. The petition requested a variance from subparagraph 62-762.501(3)(a)5, F.A.C., which requires all new pressurized small diameter integral piping that is in contact with the soil must be installed with line leak detectors meeting the requirements of paragraph 62-762.601(4)(b), F.A.C. No public comment was received. The Order, file number 22-0176, granted the variance based on a showing that Petitioner demonstrated that a strict application of the rule would result in substantial hardship to Petitioner or would affect Petitioner differently than other similarly situated applicants and because Petitioner demonstrated that the purpose of the underlying statute will be or has been achieved by other means.

A copy of the Order or additional information may be obtained by contacting: Amanda Dorsett, Department of Environmental Protection, 2600 Blair Stone Road, Mail Station 4550, Tallahassee, Florida 32399-2400; telephone (850) 245-8931; Amanda.Dorsett@dep.state.fl.us during normal business hours, 8:00 a.m. to 5:00 p.m., Monday through Friday, except legal holidays.