Notice of Bid/Request for Proposal

DEPARTMENT OF MILITARY AFFAIRS

Re-Bid 221001 CBJTC Wastewater Treatment Plant SCADA Upgrade

STATE OF FLORIDA, DEPT OF MILITARY AFFAIRS

PUBLIC ANNOUNCEMENT

INVITATION TO BID

Issuing Agency: Dept of Military Affairs

Project Name: RE-BID 221001 CBJTC Wastewater Treatment Plant SCADA Upgrade

Project Location: Camp Blanding Joint Training Center, Starke, FL

General Statement of Work for Base Scope:

-Upgrades at 1 pump station, 4 primary wells, 2 water storage tanks, and the wastewater treatment facility including electrical distribution related to the mechanical scope

-Elevation of discharge piping above grade and relocation flow meters; Update controls to allow for flow pacing of chlorine, automation of well operations based on distribution pressure, automatic cutoff based on totalized daily flow;

-Install new pressure and level sensors for elevated storage tanks;

-Replace existing altitude valves and butterfly valves on storage tank feed lines and provide new access hatches to the valve vaults;

-Install new chlorine analyzer system;

-Install new pressure and level sensors for elevated storage tanks

-Install 6 manual transfer switches for portable generators at 4 of the primary wells and 2 of the water storage tanks

-Replace existing sodium hypochlorite and sodium bisulfite chemical feed systems with new pumps and piping

-Replacing one pump station control panel

-Adding VFDs to WWTP blowers, providing on-line DO system, and PLC upgrades.

-Replacing dichlorination and hypochlorite pumps; flow pacing hypochlorite

-Add Alternate 1:

-SCADA and control upgrades for each 9 pump stations, 4 primary wells, 2 water storage tanks, and the wastewatertreatment facility

-Add Alternate 2:

-Install 2 new well pumps and motors;

-Replace existing right-angle drives with new 125Kw standby generators and ATS at 2 primary wells

-Add Alternate 3:

-Repair of leaks at existing wet well to prevent groundwater intrusion

-Add Alternate 4:

-Repair construction joints in wall of all four basins

-Add Alternate 5:

-Install new aviation and safety lighting for elevated storage tanks

Estimated Construction Cost: $2 - $2.4 Million

Type of Contractor: General Contractor

Date of MFMP Vendor Information Portal “VIP” Posting: August 12, 2022

Pre-Bid Meeting / Site Visit Date: As stated on the “VIP”

Bid Opening Date: As stated on the “VIP” (late bids will not be accepted)

Point Of Contact: Dept of Military Affairs, CFMO Contracting (904)823-0255 or e-mail ng.fl.flarng.list.cfmo-contracting@army.mil.

FOR COMPLETE INFORMATION AND SUBMISSION REQUIREMENTS PLEASE REFER TO THE MYFLORIDA.COM VENDOR INFORMATION PORTAL AT: https://vendor.myfloridamarketplace.com/.