Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by the City of Coral Gables Building Department on June 01, 2022. The following is a summary of the agency’s disposition of the petition:

Petitioner requested an answer to the following question, based upon the project described within its petition: Would a 6” step at the main egress door of a new residential house violate section R311.3.1, Florida Building Code, Residential, 7th Edition (2020)? On August 9, 2022, the Commission provided the following answer: No. Pursuant to the exception in section R311.3.1, Florida Building Code, Residential, 7th Edition (2020), the 6 inch step in question is within the permitted threshold height of 7¾ inches.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.