- 69A-21.238 Inspection, Maintenance and Hydrostatic Tests; Replacement While Recharging.

No licenseholder shall remove or permit any of his or her employees to remove any in-service fire extinguisher from its designed location for maintenance purposes without first meeting the requirements of NFPA 10, the edition as adopted in rule chapter 69A-3, F.A.C.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.304 FS. History–New 10-18-67, Formerly 4A-21.38, 4A-21.038, Amended 2-7-89, 11-21-01, Formerly 4A-21.238.