- 69A-21.249 Leak Tests; Tamper Indicators or Seals to Be Replaced.

The leak test shall be performed by following the manufacturer’s recommendations. Any tamper indicators or seals shall be replaced each year and after each recharge of a portable fire extinguisher. Tamper indicator pull pressure or break pressure shall not exceed 15 pounds.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.304, 633.308 FS. History–New 10-18-67, Formerly 4A-21.49, 4A-21.049, Amended 2-7-89, 10-20-93, 11-21-01, Formerly 4A-21.249.