- 69A-36.107 Standpipe Systems.

Standpipe systems shall be provided for all buildings over 50 feet in height, except buildings not over 6 stories high which are equipped with a complete automatic sprinkler system, in accordance with NFPA 13, as adopted in rule 69A-3.012, F.A.C.

Rulemaking Authority 633.104, 633.206 FS. Law Implemented 633.104(1), 633.206(1)(b), (2)(a) FS. History–New 10-10-91, Amended 7-11-01, Formerly 4A-36.107.