- 69A-38.025 Extinguishment Requirements.

When required by the provisions of NFPA 101, developmental disabilities facilities may use NFPA 13, “Standard for the Installation of Sprinkler Systems,” or NFPA 13D, “Standard for the Installation of Sprinkler Systems in One and Two-Family Dwellings and Manufactured Homes,” or NFPA 13R, “Standard for the Installation of Sprinkler Systems in Low-Rise Residential Occupancies,” when applicable.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-30-90, Formerly 4A-38.025.