- 69A-38.031 Special Features.

(1) All facilities shall have all parts of the means of egress sufficiently sized to allow for emergency exiting of clients who may be confined in wheelchairs and or beds when applicable.

(2) Intermediate care facilities serving one to three clients, if their rate of evacuation is determined to be impractical, shall be provided with a residential sprinkler system which meets the requirements of NFPA 13-D or 13-R as referenced in rule 69A-3.012, F.A.C.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-30-90, Formerly 4A-38.031.